PROCUREMENT OF GOODS

Request for Quotations

**For Procurement under COVID-19 Emergency Response Operations**

**Request for Quotations**

**of**

**Goods and Works**

**Procurement of:**

**MRI for Prizren – Additional Electrical Works and Supply with Power Generator**

Equipment) Supply of PPE (Personal Protective Equipment)

**Ref No: XK-MoH-332727-GO-RFB**

**Project: KOSOVO EMERGENCY COVID-19 PROJECT**

**Purchaser: MINISTRY OF HEALTH**

**Country: KOSOVO**

**Issued on: 16.11.2023**

Table of Contents

[Request for Quotations 4](#_Toc36205475)

[ANNEX 1: Purchaser’s Requirements 9](#_Toc36205476)

[ANNEX 2: Quotation Forms 10](#_Toc36205477)

[ANNEX 3: Contract Forms 21](#_Toc36205478)

Request for Quotations

“**MRI for Prizren – Additional Electrical Works and Supply with Power Generator”**

**RFQ Ref No.: XK-MoH-332727-GO-RFB**

**RFQ Date: 16 .11.2023**

**To:**

Dear Madam/Sir

**Request for Quotation (RFQ)**

This RFQ is for the procurement of Goods required in response to the COVID-19 emergency. It is subject to accelerated emergency procurement procedures.

The Ministry of Health has received financing from the World Bank (Bank) toward the cost of the **Kosovo Emergency Covid-19 Project (P173819)** and intends to apply part of the proceeds toward payments under the contract for **MRI for Prizren – Additional Electrical Works and Supply with Power Generator.**

The Ministry of Health now invites quotations from suppliers for the Goods described in Annex 1: Purchaser’s Requirements, attached to this RFQ.

**Eligible Goods**

All the Goods to be supplied under the Contract and financed by the Bank may have their origin in any country except for the following countries: ***“none”***

**Performance Security**

A Performance Security **is not required** for the subject emergency procurement.

**Manufacturer’s Authorization**

A supplier that does not manufacture or produce the Goods it offers to supply shall submit a Manufacturer’s Authorization using the form included to this RFQ to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country.

**Validity of offers**

The offers shall be valid for 30 days after deadline for submission of Quotations.

**Quoted Price**

Prices shall be quoted in the following manner:

### For Goods to be supplied from within the Purchaser’s Country:

the price of the Goods quoted DDP, including all customs duties and other taxes of the Goods (named place of destination in the Purchaser’s Country*:* Ministry of Health, Address: Rr. Zagrebit p.n. Prishtine; and

### For Goods to be supplied from outside the Purchaser’s Country:

* + - 1. the price of the Goods, quoted DDP including all customs duties and other taxes of the Goods (named place of destination in the Purchaser’s Country*:*
      2. for Related Services, other than inland transportation and other services required to convey the Goods to their final destination: **is not required**.

The prices quoted by the Bidder shall not be subject to adjustment during the performance of the Contract.

The Supplier may quote its price in a foreign currency of its choice in addition to the currency of the Purchaser’s Country (for any local costs as applicable).

**Clarifications**

Any clarification request regarding this RFQ may be sent in writing before 21.11.2023 at 15:00 (local time) to:

Ministry of Health,

Blerim Çerkini, Acting Procurement Specialist

Address: Ministry of Health, Rr. Zagrebit p.n.

10000 Prishtinë, Republic of Kosovo

E-mail: To: **blerim.cerkini@rks-gov.net**

The Purchaser will forward copies of its response to all Suppliers including a description of the inquiry but without identifying its source.

**Submission of Quotations**

1. Quotations are to be submitted in the form attached at Annex 2**.** Your price quotation in the form attached may be submitted by **hand (hard copy)** or **mail (**electronically). Quotations submitted as email attachments shall be in the form of scanned non- editable images.
2. The deadline for submission of Quotations is: **15:00** (local time) at or before **21.11.2023**.
3. The address for submission of Quotations is:

Ministry of Health,

Blerim Cerkini, Acting Procurement Specialist

Address: Ministry of Health, Rr. Zagrebit p.n.

10000 Prishtinë, Republic of Kosovo

E-mail: To: **blerim.cerkini@rks-gov.net**

**Opening of Quotations**

Quotations will be opened by the Purchaser’s representatives immediately after the deadline for the submission of Quotations*.*

**Evaluation of Quotations**

Quotations will be evaluated to ensure compliance with the Technical Specifications, Delivery and Completion Schedules and any other requirements of the RFQ.

The comparison shall be on the basis of DDP (place of final destination) prices for Goods to be supplied from outside the Purchaser’ country as well for Goods supplied from within the Borrower’s country plus cost of inland transportation and insurance to place of destination, together with prices for any required installation, training, commissioning and other services. The evaluation of prices shall take into account custom duties and other taxes levied on imported goods quoted DDP and sales and similar taxes levied in connection with the sale or delivery of goods*.*

The lowest evaluated price will be determined after correcting any arithmetic errors and other specified adjustments, if any.

Quotation will be evaluated for each lot separately and contract awarded to the firm offering the lowest evaluated total cost for that lot; within the same lot, the bidder should cover all items required (and respective quantities) in this RFQ**.**

If a Price Schedule shows items listed but not priced, their prices shall be assumed to be included in the prices of other items. An item not listed in the Price Schedule shall be assumed not included in the Quotation, and provided that the Quotation is substantially responsive, the average of the item price as quoted by substantially responsive Suppliers will be added to the Quoted Price and the equivalent total price of the Quotation so determined will be used for price comparison.

For evaluation and comparison purposes, the currency(ies) of the Quotations shall be converted into a single currency. The currency that shall be used for comparison purposes to convert at the selling exchange rate offered prices expressed in various currencies into a single currency is: EURO***.*** The source of exchange rate shall be: **Central Bank of Republic of Kosovo*.*** The date for the exchange rate shall be**date of submission of Quotations.**

**Contract Award**

The Contract will be awarded to the Supplier/s who:

1. offers the lowest evaluated price/s,
2. technically compliant quotation, and
3. guarantees delivery, in accordance with the delivery period/s

in accordance with the Evaluation of Quotations above.

The Purchaser shall invite by the quickest means *[e.g. e-mail]* the successful Supplier/s for any discussion/ negotiation *[this is expected to be virtual in light of the emergency situation]* that may be needed to conclude the contract or otherwise for contract signature.

The Purchaser shall communicate by the quickest means with the other Suppliers on its contract award decision. An unsuccessful supplier may request clarifications as to why its quotation was not determined to be successful. The Purchaser will address this request within a reasonable time.

The Purchaser shall publish a contract award notice on its website with free access, if available, or in a newspaper of national circulation or UNDB online, within 15 days after award of contract or as soon as practicable thereafter. The information shall include the name of the successful Supplier, the Contract Price, the Contract duration, summary of its scope and the names of the Suppliers and their quoted and evaluated prices.

**Purchaser’s Right to Vary Quantities at Time of Award**

The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions

**Purchaser’s Right to Accept Any Bid and to Reject Any or All Bids**

The Purchaser reserves the right to accept or reject any bid or to annul the bidding process and reject all bids at any time prior to Contract award, without thereby incurring any liability to the Bidders.

**Fraud and Corruption**

The Bank requires compliance with the Bank’s Anti-Corruption Guidelines and its prevailing sanctions policies and procedures as set forth in the WBG’s Sanctions Framework, as set forth in the attachment to the Contract Conditions (Attachment A).

In further pursuance of this policy, the supplier shall permit and shall cause their agents (where declared or not), subcontractors, subconsultants, service providers, suppliers, and personnel, to permit the Bank to inspect all accounts, records and other documents relating to the RFQ and contract performance (in the case of award), and to have them audited by auditors appointed by the Bank.

On behalf of the Purchaser:

Signature: \_\_\_\_\_\_\_\_\_\_\_\_

Name: Blerim Çerkini,

Acting Procurement Specialist

**Attachments:**

**Annex 1: Purchaser’s Requirements**

**Annex 2: Quotation Form**

**Annex 3: Contract Forms**

ANNEX 1: Purchaser’s Requirements

**1.1 List of Goods and Delivery Period**

***MRI for Prizren – Additional Electrical Work and Supply with Power Generator***

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **List of Goods and Delivery Period** | | | | | | | |
| **Item N°** | **Description of Goods** | **Quantity required** | **Physical unit** | **Named Place of Destination (DDP)** | **Place of Final Destination (Project Site)** | **Applicable Incoterms** | **Delivery Period from Date of contract signature** |
| 1.1 | **MRI for Prizren – Additional Electrical Work and Supply with Power Generator** | *1* | pieces | Prishtine | Prizren Regional Hospital | DDP | 15 days |

1.2 Technical Specifications

The Goods shall comply with following Technical Specifications and Standards:

**Detailed Technical Specifications and Standards: MRI for Prizren – Additional Electrical Works and Supply with Power Generator**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **PARAMASA DHE PARALLOGARIA PËR PUNËT E FURNIZIMIT ME ENERGJI ELEKTRIKE PËR APARATURËN e MRI-së   NË SPITALIN E PRIZRENIT - PRECAUTIONS AND PRECAUTIONS FOR ELECTRICAL ENERGY SUPPLY WORKS FOR THE MRI EQUIPMENT  IN PRIZREN HOSPITAL** | | | | | |
| Te gjitha materialet dhe produktet, perfshin: furnizimin, punimet, vendosjen ne pozicionet specifike, funksionalizimin sipas projektit dhe mirëmbajtjen deri ne skadim te periudhes se garancionit te punimeve. All materials and products, including: supply, works, placement in specific positions, functionalization according to the project and maintenance until the expiration of the warranty period of the works. | | | | | |
| **Furnizimi I objektit me energji elektrike** | **upplying the facility with electricity** |  |  |  |  |
| Furnizimi, transporti, shtrirja dhe lidhja në të dy anët e kabllos furnizuese jo halogene dhe rezistuese ndaj zjarrit N2XH-J Cu 4 x240 mm² , 0,6 / 1 kV prej TS-it nga i cili behet furnizimi me energji elektrike i objektit, deri ne vendin ku parashifet vendosja e kuadrit automatik në të cilin do të kyçen kabllot furnizuese nga TS, nga Gjeberatori nga i cili do të bëhet furnizimi me energji elektrike i objektit. Ne kete pozicion parashifet edhe lidhja e kabllos ne bllokun e TU ne trafo, me te gjitha punet percjellese sipas standardeve ne fuqi dhe sipas pershkrimit teknik dhe paraqitjes grafike te afruar ne projekt. | Supply, transport, laying and connection on both sides of the non-halogen and fire-resistant supply cable N2XH-J Cu 4 x240 mm², 0.6 / 1 kV from the Power Station from which the facility is supplied with electricity, up to in the place where the installation of the automatic framework in which the supply cables from the Power Station will be connected, from the generator, from which the facility will be supplied with electricity. In this position, the connection of the cable in the TU block to the transformer, with all the transmission works according to the standards and according to the technical description and the graphic presentation provided in the project. | m | 22 |  |  |
| Furnizimi, transporti, shtrirja dhe lidhja në të dy anët e kabllos furnizuese jo halogene dhe rezistuese ndaj zjarrit N2XH-J Cu 4 x240 mm² , 0,6 / 1 kV prej Generatorit nga i cili behet furnizimi me energji elektrike i objektit, në rast të ndërprerjes së energjis elektrike nga elektrodistibucioni, deri ne vendin ku parashifet vendosja e kuadrit automatik. Ne kete pozicion parashifet edhe lidhja e kabllos, me te gjitha punet percjellese, standardeve ne fuqi dhe sipas pershkrimit teknik dhe paraqitjes grafike te afruar ne projekt. | Supply, transport, laying and connection on both sides of the non-halogen and fire-resistant supply cable N2XH-J Cu 4 x240 mm², 0.6 / 1 kV from the Generator from which the facility is supplied with electricity, in case of interruption of electricity from the electrical distribution, up to the place where the installation of the automatic framework is foreseen. In this position, the connection of the cable, with all the transmission works, according to the standards and according to the technical description and graphic presentation provided in the project, is indicated. | m | 25 |  |  |
| Furnizimi, transporti, shtrirja dhe lidhja në të dy anët e kabllos furnizuese jo halogene dhe rezistuese ndaj zjarrit N2XH-J Cu 4 x240 mm² , 0,6 / 1 kV nga kuadrit automatik deri te kuadri kryesor i objektit . Ne kete pozicion parashifet edhe lidhja e kabllos, me te gjitha punet percjellese, standardeve ne fuqi dhe sipas pershkrimit teknik dhe paraqitjes grafike te afruar ne projekt. | Supply, transport, laying and connection on both sides of the non-halogen and fire-resistant supply cable N2XH-J Cu 4 x240 mm², 0.6 / 1 kV from the automatic switchboard to the main switchboard of the facility. In this position, the connection of the cable, with all the transmission works, according to the standards and according to the technical description and graphic presentation provided in the project, is indicated. | m | 190 |  |  |
| Detektimi dhe gjetja e kabllove nentokësore te TU dhe TM, si dhe shenimi I tyre | Detection and finding of underground cables of TU and TM, as well as their marking | lumpsum | 1 |  |  |
| Germimi dhe gërmimi i kontrolluar duke i ruajtur instalimet nëntokësore, me dimensione (1.0x1.0) m në dheun e kategorisë III dhe IV për punimin e kanalit nga betonarmea, në të cilet do te vendoset kabllo furnizuese jo halogene dhe rezistuese ndaj zjarrit N2XH-J Cu 4 x 240 mm² , 0,6 / 1 kV. Në çmim duhet te kalkulohet largimi i dheut të tepërt dhe bartja e tij deri në deponin e caktuar nga organi mbikqyre duke përfshirë të gjitha taksat aktuale që aplikohen në Kosovë. Dëmtimi i instalimeve nëntokësore është përgjegjesi e punëkryesit dhe riparimi i tyre bëhet nga punëkryesi. | Excavation and controlled excavation by preserving the underground installations, with dimensions (1.0x1.0) m in the soil of category III and IV for the construction of the channel from reinforced concrete, in which the non-halogen and fire-resistant supply cable N2XH- J Cu 4 x 240 mm², 0.6 / 1 kV will pass through. The price should include the removal of excess soil and its transport to the depot designated by the supervisory body, including all current taxes applied in Kosovo. Damage to underground installations is the responsibility of the foreman and their repair is done by the foreman. | m | 92 |  |  |
| Pastrimi dhe meremetimi I kanaleve të betonit të cilët ndodhen brenda rrethojes ku janë të vendosur TS-it dhe gjenereratoret | Cleaning and maintenance of concrete channels located inside the enclosure where the TS and generators are located | lumpsum | 1 |  |  |
| Punimi I nenkalimeve te gypave te gazit të cilët kryqezohen me kanalin e furnizimit me energji elektrike te objektit | Work on bypasses of gas pipes that intersect with the facility's electricity supply channel | lumpsum | 1 |  |  |
| Anashkalimi ose nenkalimi I pusetave ekzistuese të cilat mund të jenë penges ne drejtimin e kanalit furnizues | Bypassing or underpassing the existing wells which may be an obstacle in the direction of the supply channel | pcs | 4 |  |  |
| Furnizimi, transporti dhe shtrirja e gypit te brinjezuar dy shtresor HDPE SN 8 Ø 125 mm ne kanal, sipas detalit te dhene nk të cilin do të vendoset kabllo furnizuese N2XH-J -J Cu | Bypassing or underpassing the existing wells that may be an obstacle in the direction of the supply channel. Supply, transport and laying of the two-layer HDPE ribbed pipe SN 8 Ø 125 mm in the channel, according to the details given in which the supply cable N2XH- will be placed. J - J Cu | m | 220 |  |  |
| Prerja e asfaltit dhe betonit ekzistues, ku do të punohet kanali nga betonarmea. Gjëresia e sipërfaqes e cila do të prehet është b=1.0m | Cutting of the existing asphalt and concrete, where the channel will be made of reinforced concrete. The size of the surface which will be cut is b=1.0m | m | 70 |  |  |
| Realizimi I shpimit ndër objektin ekzistues me makineri adekuate për këtë lloj punimi. Shpimi duhet të behet për vendosjen e dy gypave parale HDPE SN 8 Ø 160 mm. | Realization of drilling between the existing facility with adequate machinery for this type of work. Drilling should be done for placing two HDPE SN 8 Ø 160 mm parallel pipes. | m | 16 |  |  |
| Furnizimi me material , shtrirja, lidhja dhe komisionimi i kanaleve kabllovike me dim.(100X40)mm , perfshire dhe aksesoret e nevojshem, tipi C3 Hot-dip i galvanizuar per perdorim te brendshem dhe te jashtem sipas standatrdeve ISO1461:2009 ; SS-EN ISO 12944-2. Kanali kabllovik i shpuar me vrima Ø 5.8 mm në fund të kanlit që do të përdoren për fiksimin e nyjeve. Vrima ovale përgjatë pjeses anesore te kanalit mund të përdoren për montimin e aksesorëve. Materiali: Çelik, para-galvanizuar i bardhë. Kanali kabllovik i varur ne ne pjesen e brendëshme të obektit mbi amstrong. Ndërsa i vendosur verikalisht në mur në pjesën e jashtme të objektit dhe i mbuluar me kapak. | Material supply, laying, connection and commissioning of cable channels with dimensions (100X40)mm, including the necessary accessories, type C3 Hot-dip galvanized for internal and external use according to ISO1461:2009 standards; EN ISO 12944-2. Drilled cable channel with Ø 5.8 mm holes at the bottom of the channel to be used for fixing joints. Oval holes along the side of the channel can be used for mounting accessories. Material: Steel, pre-galvanized white. Cable channel hanging in the interior of the building above Armstrong. While placed vertically on the wall on the outside of the building and covered with a lid. | m | 35 |  |  |
| **Furnizimi me material , transporti, montimi dhe lidhja e dizel gjeneratorit super silent - dizel gjeneratore stand bay me startim dhe kontrolle automatike në pune paralele me kapacitet 300 kVA, 500 V, 50 Hz. Në çmim duhet të kalkulohen edhe Kyqja e gjeneratorit në furnizimin e tij me karburant. Punimet duhet te realizohen sipas pershkrimit teknik si dhe paraqitjes grafike.** | **Material supply, transport, assembly and connection of the super silent diesel generator - stand bay diesel generators with start and automatic controls in parallel work with a capacity of 300 kVA, 500 V, 50 Hz. The cost of the generator in its fuel supply should also be calculated in the price. The works must be carried out according to the technical description as well as the graphic presentation.** | pcs | 1 |  |  |
| Furnizimi, transporti dhe montimi i kuadrit kryesor shpërndares te kthina e gjeneratorëve me dimensione te mjaftueshme për vendosjen e paisjeve sipas skemes njepolare | Supply, transport and assembly of the main distribution frame/box at the locvation of the generators with sufficient dimensions for placing the equipment according to the single-pole scheme | lumpsum | 1 |  |  |
| Furnizimi, transporti dhe montimi i kuadrit kryesor shpërndares me dimensione te nevojshme për vendosjen e paisjeve sipas skemes njepolare | Supply, transport and assembly of the main distribution frame/box with the necessary dimensions for placing the equipment according to the single-pole scheme |
| kontrolla për startim automatik të gjeneratorit, në rast të ndaljes se energjisë elektrike nga rrjeti | controls for automatic start of the generator, in the event of a power outage from the network |
| Furnizimi, transporti dhe montimi 3 DPX 400 (0.8-1) A, permes te cilëve do të kontollohen hyrja e nga rrjeti elektrik, hyrja nga Gjeneratori si dhe dalja për furnizimin e objektit, sipas skemes njëpolare. | Supply, transport and installation of 3 DPX 400 (0.8-1) A, through which the input from the electrical network, the input from the Generator and the output for supplying the object will be controlled, according to the unipolar scheme. |
| Zbarrat dhe elementet tjera të nevojshëme për realizimin e lidhjeve dhe funksionalizimin e kuadrit | Busbars and other elements necessary for making the connections and making the framework functional |
| Furnizimi, transporti dhe montimi i kuadrit kryesor shpërndares te kthina e objketit ku do të vendoset paisje, me dimensione te mjaftueshme për vendosjen e paisjeve sipas skemes njepolare | Supply, transport and assembly of the main distribution frame/box at the location of the object where the equipment will be placed, with sufficient dimensions for the installation of the equipment according to the single-pole scheme | lumpsum | 1 |  |  |
| Furnizimi, transporti dhe montimi I ORSA 400/350A | Supply, transport and assembly of ORSA 400/350A |
| Furnizimi, transporti dhe montimi I ndërpresi DPX 320A | Supply, transport and assembly of DPX 320A switch |
| Furnizimi, transporti dhe montimi i zbarrave dhe elementeve tjera me të cilat do të mundësohet lidhja e njesia qendrore (UPS) per furnizim permanent me emergji elektrike të paisjes, për mbajtjen në punë të paisje deri sa te aktivizohet gjeneratori. UPS-i është pjesë përberese e paisjes, prandaj në këtë pozicion kalkulohet vetem çmimi i lidhjes së UPS-it | Supply, transport and assembly of the interrupted DPX 320A Supply, transport and assembly of busbars and other elements with which it will be possible to connect the central unit (UPS) for permanent supply of electrical energy to the device, to keep the device working until it is activated the generator. The UPS is an integral part of the device, therefore in this position only the price of the UPS connection is calculated |
| Furnizimi, transporti dhe latimi I kanalit nga betonarme në formë të shkronjës U, trashesia e mureve 15 cm, dimensionet e brendëshme (40x60) cm | Supply, transport and laying of the channel from reinforced concrete in the shape of the letter U, the thickness of the walls 15 cm, the internal dimensions (40x60) cm | m³ | 30.00 |  |  |
| Furnizimi, transporti dhe punimi I pplakave për mbulimin e kanalit nga betonarmenë formë të shkronjës U, trashesia e pllakave të jetë 20 cm, armimi sipas detalit për mbajtjen e peshave të rënda. Dimensionet e pllakve (30 x 70) cm | Supply, transport and work of slabs for covering the channel from U-shaped reinforced concrete, slab thickness to be 20 cm, reinforcement according to detail for carrying heavy weights. Dimensions of the plates (30 x 70) cm | m³ | 5.00 |  |  |
| Nivelizimi I kanalit me zhavor 0-31.5 mm nënë kanal dhe anash kanalit betonarme. | Leveling of the channel with gravel 0-31.5 mm under the channel and on the side of the reinforced concrete channel. | m³ | 30.00 |  |  |
|  |  | **Gjithsej / Total** | | |  |

**Documentation, Installation and Warranty**

**Provision of goods/equipment’s**

1. All equipment must be new and must carry complete original documentation.

**Installation**

1. The Supplier shall include in his offer a detailed installation plan and time schedule.
2. Installation must be carried out by specialized and qualified personnel.
3. Successful Bidders shall control the complete execution of contracted services; they may use sub-contractor or local representative that have been clearly indicated in the submitted proposal; installation must be carried out by specialized and qualified personnel.
4. The Supplier/Installer shall transport the equipment inside to the installation site, open the packages and install it according with the installation requirements.
5. The Supplier/Installer shall clean up the site of any packaging/shipping material and any waste produced after installation, the Purchaser can decide to retain the original boxes.
6. The Supplier/Installer is responsible to install the equipment “ready to start” for testing and commissioning.
7. Any damage to structures, finishing or installations caused by the supplier/installer will be repaired by the supplier/installer within 2 weeks using the same construction materials of the damaged areas and restoring all the previous services with the same supply quality.

**Warranty**

1. The warranty period shall be not less than **24 months**.
2. The warranty period shall commence on the date of provisional handing over stated in the certificate.
3. The warranty certificate will be in the name of the final Beneficiary.
4. The warranty coverage will be applied fully and without any cost to Beneficiary and to the users, including but not limited to the cost of visits, labor, spare parts, and shall be valid for unlimited consultations within the warranty period, save in cases of proven misuse, intentional damage or force majeure.
5. If in the opinion of the Supplier the goods were subject to misuse, intentional damage or force majeure, therefore not covered by warranty, the Supplier should present indubitable proof of such misuse, intentional damage or force majeure.
6. The time elapsed between the communication of the request of maintenance intervention and the first intervention on site will be, inside the warranty period, not longer than 2 business days.
7. The warranty shall include quality and safety controls, according to the Manufacturer's specifications and periodicity, and in any case not less than 2 interventions per year; all intervention and materials, including instruments, kits and consumables, will be provided by the Supplier without any cost for the Purchaser.

ANNEX 2: Quotation Forms

Supplier Quotation Form

|  |  |
| --- | --- |
| **From:** | **[*Insert Supplier’s name*]** |
| **Supplier’s Representative:** | [*Insert name of Supplier’s Representative*] |
| **Title/Position:** | [*Insert Representatives title or position*] |
| **Address:** | [*Insert Supplier’s address*] |
| **Email:** | [*Insert Supplier’s email address*] |

|  |  |
| --- | --- |
| **To:** | **Ministry of Health** |
| **Purchaser’s Representative:** | [*Insert name of Purchaser’s Representative*] |
| **Title/Position:** | [*Insert Representatives title or position*] |
| **Address :** | [*Insert Purchaser’s address,* ***including email***] |
| **RFQ Ref No.:** | XK-MoH-332727-GO-RFB |
| **Date of Quotation:** |  |

Dear [*insert name of Purchaser’s Representative*]:

**SUBMISSION OF QUOTATION**

1. **Conformity and no reservations**

In response to the above named RFQ we offer to supply the Goods, [*add if applicable:* “and the Related Services,”] as per this Quotation and in conformity with the RFQ, Delivery and Completion Schedules and Technical Specifications. We confirm that we have examined and have no reservations to the RFQ, including the Contract.

1. **Eligibility**

If awarded the Contract, the Goods that we supply shall be sourced from an eligible country.

We, along with any of our subcontractors, suppliers, consultants, manufacturers, or service providers for any part of the contract, are not subject to, and not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the World Bank Group or a debarment imposed by the World Bank Group in accordance with the Agreement for Mutual Enforcement of Debarment Decisions between the World Bank and other development banks. Further, we are not ineligible under the Purchaser’s Country laws or official regulations or pursuant to a decision of the United Nations Security Council.

1. **Quotation Price**

The total price of our offer is [*insert the total price of the offer in words and figures, indicating the various amounts and the respective currencies*].

1. **Quotation Validity**

Our Quotation shall be valid until the date specified in the RFQ, and it shall remain binding upon us and may be accepted at any time before it expires.

1. **Performance Security**: *is not required*

If we are awarded the Contract, we commit to obtain a Performance Security in accordance with the RFQ.

1. **Commissions, gratuities, fees**

We have paid, or will pay the following commissions, gratuities, or fees with respect to this Quotation

[*If none has been paid or is to be paid, indicate “*none*.”*]

|  |  |  |  |
| --- | --- | --- | --- |
| Name of Recipient | Address | Reason | Amount |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

1. **Not Bound to Accept**

We understand that you reserve the right to:

1. accept or reject any Quotation and are not bound to accept the lowest evaluated cost Quotation, or any other Quotation that you may receive, and
2. annul the RFQ process at any time prior to the award of the Contract without incurring any liability to Suppliers.
3. **Fraud and Corruption**

We hereby certify that we have taken steps to ensure that no person acting for us, or on our behalf, engages in any type of Fraud and Corruption.

On behalf of the Supplier:

Name of the person duly authorized to sign the Quotation on behalf of the Supplier: [*insert complete name of person duly authorized to sign the Quotation*]

Title of the person signing the Quotation: *[insert complete title of the person signing the Quotation]*

Signature of the person named above: *[insert signature of person whose name and capacity are shown above]*

Date signed *[insert date of signing]* day of *[insert month], [insert year]*

Price Schedules

***[The following forms may be used by the Supplier for submitting its quotation. The forms may also be used for the contract subsequent to any negotiations.]***

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Quotation for Goods: Price Schedule 1  **(For Goods to be supplied from outside the Purchaser’ country)** | | | | | | | | |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| **Line Item N°** | **Description of Goods** | **Country of Origin** | **Delivery Date as defined by Incoterms** | **Quantity and physical unit** | **Unit price**  **DDP (Regional Hospital Prizren)** | **DDP Price per line item**  **(Col. 5x6)** | **DDP Price per line item for inland transportation and other services required in the Purchaser’s Country to convey the Goods to their final destination specified in RFQ** | **Total Price per Line item**  **(Col. 7+8)** |
| ***1.1*** | ***MRI for Prizren – Additional Electrical Works and Supply with Power Generator*** | *[insert country of origin of the Good]* | *[insert quoted Delivery Date quoted phased Delivery periods if applicable]* | ***1 pieces*** | *[insert unit price DDP per unit]* | *[insert total DDP price per line item]* | *[insert the corresponding price per line item]* | *[insert total price of the line item]* |
| ***1.2*** | ***MRI for Prizren – Additional Electrical Works and Supply with Power Generator (Installation and functionalization)*** |  |  | *Lump-sum* |  |  |  |  |
|  | | | | | | | **Quotation Price** |  |
|  | | | | | | | | |

**MRI for Prizren – Additional Electrical Works and Supply with Power Generator**

Total Quotation: Price Schedule 4

**The total price for the supply and delivery of the Goods, and related Services is as follows:**

|  |  |
| --- | --- |
| Price Schedule | Amount |
| Goods: Price Schedule |  |
| **Total Quotation for MRI for Prizren – Additional Electrical Works and Supply with Power Generator** |  |

**Manufacturer’s Authorization**

*[The Supplier shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This* *letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer.]*

Date: *[insert date (as day, month and year) of Quotation submission]*

RFQ No.: *[insert number of RFQ process]*

To: *[insert complete name of Purchaser]*

WHEREAS

We *[insert complete name of Manufacturer],* who are official manufacturers of*[insert type of goods manufactured],* having factories at [insert full address of Manufacturer’s factories], do hereby authorize *[insert complete name of the Supplier]* to submit a quotation the purpose of which is to provide the following Goods, manufactured by us *[insert name and or brief description of the Goods],* and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 20 of the Conditions of Contract, with respect to the Goods offered by the above firm.

Signed: *[insert signature(s) of authorized representative(s) of the Manufacturer]*

Name: *[insert complete name(s) of authorized representative(s) of the Manufacturer]*

Title: *[insert title]*

Dated on \_\_\_\_\_\_\_\_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, \_\_\_\_\_\_\_ *[insert date of signing]*

ANNEX 3: Contract Forms

**Contract Agreement**

THIS AGREEMENT made the *[ insert:* ***number*** *]* day of *[ insert:* ***month*** *]*, *[ insert:* ***year*** *]*.

BETWEEN

(1) *[ insert complete name of Purchaser ]*, a *[ insert description of type of legal entity, for example, an agency of the Ministry of .... of the Government of { insert name of Country of Purchaser }, or corporation incorporated under the laws of { insert name of Country of Purchaser } ]* and having its principal place of business at *[ insert address of Purchaser**]* (hereinafter called “the Purchaser”), of the one part, and

(2) *[ insert name of Supplier**]*, a corporation incorporated under the laws of *[ insert: country of Supplier**]* and having its principal place of business at *[ insert: address of Supplier ]* (hereinafter called “the Supplier”), of the other part :

WHEREAS the Purchaser invited quotations for certain Goods and ancillary services, *[insert brief description of Goods and Services]* and has accepted a quotation by the Supplier for the supply of those Goods and Services

The Purchaser and the Supplier agree as follows:

1. In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract documents referred to.

2. The following documents shall be deemed to form and be read and construed as part of this Agreement. This Agreement shall prevail over all other Contract documents.

1. the Letter of Award of Contract
2. the Supplier’s quotation
3. Conditions of Contract
4. the Purchaser’s Requirements (including Schedule of Requirements and Technical Specifications)
5. the completed Schedules (including Price Schedules)
6. any other document listed as forming part of the Contract

3. In consideration of the payments to be made by the Purchaser to the Supplier as specified in this Agreement, the Supplier hereby covenants with the Purchaser to provide the Goods and Related Services if applicable and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4. The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the Goods and Related Services if applicable and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of *[the Purchaser’s country, unless agreed otherwise]* on the day, month and year indicated above.

*[To facilitate this emergency procurement, if acceptable to the Purchaser and the Supplier, electronic signature of the Contract Agreement such as using DocuSign is recommended.]*

**For and on behalf of the Purchaser:**

Signed: *[insert signature]*

in the capacity of *[insert title or other appropriate designation]*

in the presence of *[insert identification of official witness]*

**For and on behalf of the Supplier:**

Signed: *[insert signature of authorized representative(s) of the Supplier]*

in the capacity of *[insert title or other appropriate designation]*

in the presence of *[insert identification of official witness]*

Conditions of Contract

|  |  |
| --- | --- |
| 1. Definitions | * 1. The following words and expressions shall have the meanings hereby assigned to them:  “Bank” means the World Bank and refers to the International Bank for Reconstruction and Development (IBRD) or the International Development Association (IDA).“CC” means the Conditions of Contract.“Contract” means the Contract Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein.“Contract Documents” means the documents listed in the Contract Agreement, including any amendments thereto.“Contract Price” means the price payable to the Supplier as specified in CC 8.1, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract.“Day” means calendar day.“Completion” means the fulfillment of the Related Services, as applicable, by the Supplier in accordance with the terms and conditions set forth in the Contract.“CC” means the Conditions of Contract.“Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract.“Party” means the Purchaser or the Contractor, as the context requires, and “Parties” means both of them.“Purchaser” means the entity purchasing the Goods and Related Services as applicable, as specified in CC 2.“Purchaser’s Country” is the country specified in the CC 2.“Related Services” means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other such obligations of the Supplier under the Contract, as applicable.“Subcontractor” means any person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier.“Supplier” means the person, private or government entity, or a combination of the above, whose Quotation to perform the Contract has been accepted by the Purchaser and is named as such in the Contract Agreement.“The Project Site,” where applicable, means the place named in theCC. |
| 1. Purchaser, Purchaser’s Country, Project Site/Final Destination | * 1. The Purchaser is: Ministry of Health   2. The Purchaser’s Country is: Republic of Kosovo   3. The Project Site(s)/Final Destination(s) is/are: Regional Hospital Prizren. |
| 1. Incoterms | * 1. The edition of Incoterms that shall apply is: **Incoterms 2010 — ICC Official Rules for the Interpretation of Trade Terms” published in January 1, 2011 by the International Chamber of Commerce, 38 Cours Albert 1er, 75008 Paris, France”**. |
| 1. Notices and Addresses for notices | * 1. Any notice given by one Party to the other pursuant to the Contract shall be in writing to the address hereafter using the quickest available method such as electronic mail with proof of receipt.   **Address for notices to the Purchaser:**  Attention: Blerim Cerkini, Acting Procurement Specialist, PCU/MoH  Ministry of Health; Office number 212,  Street: St. Zagrebit p.n.  City: 10000 Prishtina  Country: Kosovo  E-mail: blerim.cerkini@rks-gov.net  **Address for notices to the Supplier:**  *[insert the name of officer authorized to receive notices]*  *[title/position]*  *[department/work unit]*  *[address]*  *[****Electronic mail address****]* |
| 1. Governing Law | * 1. The Contract shall be governed by and interpreted in accordance with the laws of *“*the Purchaser’s Country*”* |
| 1. Settlement of Disputes | 1. Contract with foreign Supplier:   ***[unless the Purchaser chooses the commercial arbitration rules of another international arbitral institution, the following sample clause should be inserted:]***  All disputes arising out of or in connection with the present contract shall be finally settled under the Rules of Arbitration of the International Chamber of Commerce by one or more arbitrators appointed in accordance with the said Rules.   1. Contracts with Supplier national of the Purchaser’s Country:   In the case of a dispute between the Purchaser and a Supplier who is a national of the Purchaser’s Country, the dispute shall be referred to adjudication or arbitration in accordance with the laws of the Purchaser’s Country. |
| 1. Shipping and other documents to be provided | * 1. The Delivery of the Goods and Completion of the Related Services as applicable shall be in accordance with the Delivery and Completion Schedule specified in the Schedule of Requirements.   Details of Shipping and other Documents to be furnished by the Supplier are:  (a) two copies of the Supplier’s invoice showing the Goods’ description, quantity, unit price, and total amount;  (b) delivery note, railway receipt, or truck receipt;  (c) certificate of insurance;  (d) certificate(s) of origin; and  (e) estimated time of arrival at the site.  The above documents shall be received by the Purchaser:   * + - 1. before arrival of the Goods, if the mode of payment is through letter of credit if so specified in CC 9. If the documents are not received before arrival of the Goods, the Supplier will be responsible for any consequent expenses; or otherwise;       2. on shipment.] |
| 1. Contract Price | * 1. The Contract Price is specified in Price Schedule 4.   2. The unit prices charged by the Supplier for the Goods supplied and the Related Services performed under the Contract shall not vary from the prices quoted by the Supplier and accepted by the Purchaser. |
| 1. Terms of payment | * 1. The method and conditions of payment to be made to the Supplier under this Contract shall be as follows:   **Payment for Goods supplied from abroad:**  ***[Choose the applicable option and delete the other]***  Payment of foreign currency portion shall be made in (\_\_\_\_\_) *[currency of the Contract Price]* in the following manner:   * + - 1. **On Acceptance:** Hundred (100) percent of the Contract Price of Goods received shall be paid within fifteen (15) days of receipt of the Goods upon submission of claim supported by the acceptance certificate issued by the Purchaser.   Payment of local currency portion shall be made in [currency] within fifteen (15) days of presentation of claim supported by a certificate from the Purchaser declaring that the Goods have been delivered and that all other contracted services have been performed.]  **Payment for Goods supplied from within the Purchaser’s Country:**  Payment for Goods and Services supplied from within the Purchaser’s Country shall be made in \_\_\_\_\_ *[currency]*, as follows:   * + - 1. **On Acceptance:** Hundred (100) percent of the Contract Price shall be paid to the Supplier within fifteen (15) days after the date of the acceptance certificate for the respective delivery issued by the Purchaser. |
| 1. Taxes and Duties | * 1. For Goods manufactured outside the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Purchaser’s Country.   2. For Goods Manufactured within the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser.   3. If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in the Purchaser’s Country, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent. |
| 1. Performance Security | * 1. A Performance Security: **is not required for the subject emergency procurement.** |
| 1. Subcontractors | * 1. The Supplier shall notify the Purchaser in writing of all subcontracts awarded under the Contract if not already specified in the Quotation. Such notification, in the original Quotation or later shall not relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract. |
| 1. Specifications and Standards | * 1. The Goods and Related Services if applicable supplied under this Contract shall conform to the technical specifications and standards mentioned in the Technical Specifications and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the Goods’ country of origin. |
| 1. Packing, marking and documentation | * 1. The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit.   2. The packing, marking and documentation within and outside the packages shall be:**refer to the Technical Specifications** |
| 1. Insurance cover | * 1. The insurance coverage shall be as specified in the Incoterms. **Incoterms 2010 — ICC Official Rules for the Interpretation of Trade Terms” published in January 1,2011 by the International Chamber of Commerce** |
| 1. Transportation | * 1. Responsibility for transportation of the Goods shall be as specified in the Incoterms.   If not in accordance with Incoterms, responsibility for transportations shall be as follows: The Supplier is required under the Contract to transport the Goods to a specified place of final destination within the Purchaser’s Country, defined as the Project Site. Transport to such place of destination in the Purchaser’s Country, including insurance and storage, as shall be specified in the Contract, shall be arranged by the Supplier, and related costs shall be included in the Contract Price. |
| 1. Site of inspections and tests | * 1. The inspections and tests shall be conducted at: is/are: Regional Hospital Prizren |
| 1. Delivery Date and Completion Date | * 1. The Delivery Date of the Goods shall be: **10 days** after contract signature. |
| 1. Liquidated damages and bonuses | * 1. The liquidated damage shall be **0.5 %** of the price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance.   The maximum amount of liquidated damages shall be **10%**of the Contract Price. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to CC 26. |
| 1. Warranty | * 1. The Supplier warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract.   2. The Supplier further warrants that the Goods shall be free from defects arising from any act or omission of the Supplier or arising from design, materials, and workmanship, under normal use in the conditions prevailing in the country of final destination.   3. The warranty shall remain valid for **period specified under Technical Requirements** after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination**,** or for [insert number] months after the date of shipment from the port or place of loading in the country of origin, whichever period concludes earlier.   4. The period for repair or replacement after being notified of the defect by the Purchaser shall be 10 days.   5. If having been notified, the Supplier fails to remedy the defect within the period specified in CC 20.4, the Purchaser may proceed to take within a reasonable period such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.   6. For purposes of the warranty, the place(s) of final destination(s) shall be: Regional Hospital Prizren |
| 1. Copyright | * 1. The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party. |
| 1. Fraud and Corruption | * 1. The Bank requires compliance with the Bank’s Anti-Corruption Guidelines and its prevailing sanctions policies and procedures as set forth in the WBG’s Sanctions Framework, as set forth in Attachment A to the Conditions of Contract.   2. The Purchaser requires the Supplier to disclose any commissions or fees that may have been paid or are to be paid to agents or any other party with respect to the request for quotations or execution of the Contract. The information disclosed must include at least the name and address of the agent or other party, the amount and currency, and the purpose of the commission, gratuity or fee. |
| 1. Inspections and Audit by the Bank | * 1. Pursuant to paragraph 2.2 e. of the attachment to the Conditions of Contract, the Supplier shall permit and shall cause its agents (where declared or not), subcontractors, subconsultants, service providers, suppliers, and personnel, to permit, the Bank and/or persons appointed by the Bank to inspect the site and/or the accounts, records and other documents relating to the request for quotations process and/or execution of Contract. The Supplier’s and its subcontractors attention is drawn to CC 22.1 (Fraud and Corruption) which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures). |
| 1. Limitation of Liability | * 1. Except in cases of criminal negligence or willful misconduct,   (a) the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser and  (b) the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the supplier to indemnify the Purchaser with respect to patent infringement. |
| 1. Force Majeure | * 1. The Supplier shall not be liable for forfeiture of its Performance Security (if required), liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.   2. For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, and freight embargoes.   3. If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.   4. If the performance of the Contract is substantially prevented, hindered or delayed for a single period of more than sixty (60) days or an aggregate period of more than one hundred and twenty (120) days on account of one or more events of Force Majeure during the currency of the Contract, the Parties will attempt to develop a mutually satisfactory solution, failing which either Party may terminate the Contract by giving a notice to the other Party. |
| 1. Termination | * 1. Termination for Default  The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted by the Purchaser;if the Supplier fails to perform any other obligation under the Contract; orif the Supplier, in the judgment of the Purchaser has engaged in Fraud and Corruption, in competing for or in executing the Contract. In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services if applicable similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services if applicable. However, the Supplier shall continue performance of the Contract to the extent not terminated.   * 1. Termination for Convenience  The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect:to have any portion completed and delivered at the Contract terms and prices; and/orto cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services if applicable and for materials and parts previously procured by the Supplier. |
| 1. Forced Labor | * 1. The Supplier, including its Subcontractors, shall not employ or engage forced labor or persons subject to trafficking, as described in CC 27.2 and CC 27.3.   2. Forced labor consists of any work or service, not voluntarily performed, that is exacted from an individual under threat of force or penalty, and includes any kind of involuntary or compulsory labor, such as indentured labor, bonded labor or similar labor-contracting arrangements.   3. Trafficking in persons is defined as the recruitment, transportation, transfer, harbouring or receipt of persons by means of the threat or use of force or other forms of coercion, abduction, fraud, deception, abuse of power, or of a position of vulnerability, or of the giving or receiving of payments or benefits to achieve the consent of a person having control over another person, for the purposes of exploitation. |
| 1. Child Labor | * 1. The Supplier, including its Subcontractors, shall not employ or engage a child under the age of 14 unless the national law specifies a higher age (the minimum age).   2. The Supplier, including its Subcontractors, shall not employ or engage a child between the minimum age and the age of 18 in a manner that is likely to be hazardous, or to interfere with, the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral, or social development.   Work considered hazardous for children is work that, by its nature or the circumstances in which it is carried out, is likely to jeopardize the health, safety, or morals of children. Such work activities prohibited for children include work:   1. with exposure to physical, psychological or sexual abuse; 2. underground, underwater, working at heights or in confined spaces; 3. with dangerous machinery, equipment or tools, or involving handling or transport of heavy loads; 4. in unhealthy environments exposing children to hazardous substances, agents, or processes, or to temperatures, noise or vibration damaging to health; or    1. under difficult conditions such as work for long hours, during the night or in confinement on the premises of the employer. |
| 1. Health and safety obligations | * 1. The Supplier shall comply, and shall require its Subcontractors if any to comply, with all applicable health and safety regulations, laws, guidelines, and any other requirement stated in the Technical Specifications. |

**Attachment A to the Conditions of Contract**

**Fraud and Corruption**

***(Text in this Appendix shall not be modified)***

1. **Purpose**
   1. The Bank’s Anti-Corruption Guidelines and this annex apply with respect to procurement under Bank Investment Project Financing operations.
2. **Requirements**
3. The Bank requires that Borrowers (including beneficiaries of Bank financing); bidders (applicants/proposers), consultants, contractors and suppliers; any sub-contractors, sub-consultants, service providers or suppliers; any agents (whether declared or not); and any of their personnel, observe the highest standard of ethics during the procurement process, selection and contract execution of Bank-financed contracts, and refrain from Fraud and Corruption.
4. To this end, the Bank:
5. Defines, for the purposes of this provision, the terms set forth below as follows:
6. “corrupt practice” is the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party;
7. “fraudulent practice” is any act or omission, including misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain financial or other benefit or to avoid an obligation;
8. “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party;
9. “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party;
10. “obstructive practice” is:
11. deliberately destroying, falsifying, altering, or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive, or collusive practice; and/or threatening, harassing, or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or
12. acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under paragraph 2.2 e. below.
13. Rejects a proposal for award if the Bank determines that the firm or individual recommended for award, any of its personnel, or its agents, or its sub-consultants, sub-contractors, service providers, suppliers and/ or their employees, has, directly or indirectly, engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices in competing for the contract in question;
14. In addition to the legal remedies set out in the relevant Legal Agreement, may take other appropriate actions, including declaring misprocurement, if the Bank determines at any time that representatives of the Borrower or of a recipient of any part of the proceeds of the loan engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices during the procurement process, selection and/or execution of the contract in question, without the Borrower having taken timely and appropriate action satisfactory to the Bank to address such practices when they occur, including by failing to inform the Bank in a timely manner at the time they knew of the practices;
15. Pursuant to the Bank’s Anti- Corruption Guidelines and in accordance with the Bank’s prevailing sanctions policies and procedures, may sanction a firm or individual, either indefinitely or for a stated period of time, including by publicly declaring such firm or individual ineligible (i) to be awarded or otherwise benefit from a Bank-financed contract, financially or in any other manner;[[1]](#footnote-1) (ii) to be a nominated[[2]](#footnote-2) sub-contractor, consultant, manufacturer or supplier, or service provider of an otherwise eligible firm being awarded a Bank-financed contract; and (iii) to receive the proceeds of any loan made by the Bank or otherwise to participate further in the preparation or implementation of any Bank-financed project;
16. Requires that a clause be included in bidding/request for proposals documents and in contracts financed by a Bank loan, requiring (i) bidders (applicants/proposers), consultants, contractors, and suppliers, and their sub-contractors, sub-consultants, service providers, suppliers, agents personnel, permit the Bank to inspect[[3]](#footnote-3) all accounts, records and other documents relating to the procurement process, selection and/or contract execution, and to have them audited by auditors appointed by the Bank.

Sample Letter of Award of Contract

*[modify as appropriate]*

*[use letterhead paper of the Purchaser]*

*[date]*

To: *[name and address of the Supplier]*

Subject: ***Notification of Award of Contract No.*** . . . . . . . . ..

In reference to the RFQ [*insert reference number and date*], your Quotation [*insert reference number and date*] has been accepted.

Please find inclosed herewith the Contract. You are requested to sign the contract within *[insert no of days]*.

***[Insert the following only if Performance Security is required:]*** “You are also requested to furnish a Performance Security within [*insert no of days*] in accordance with the Conditions of the Contract, using for that purpose one of the Performance Security Form*s* attached to the Contract.

Authorized Signature:

Name and Title of Signatory:

Name of Agency:

**Attachment: Contract**

1. For the avoidance of doubt, a sanctioned party’s ineligibility to be awarded a contract shall include, without limitation, (i) applying for pre-qualification, expressing interest in a consultancy, and bidding, either directly or as a nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider, in respect of such contract, and (ii) entering into an addendum or amendment introducing a material modification to any existing contract. [↑](#footnote-ref-1)
2. A nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider (different names are used depending on the particular bidding document) is one which has been: (i) included by the bidder in its pre-qualification application or bid because it brings specific and critical experience and know-how that allow the bidder to meet the qualification requirements for the particular bid; or (ii) appointed by the Borrower. [↑](#footnote-ref-2)
3. Inspections in this context usually are investigative (i.e., forensic) in nature. They involve fact-finding activities undertaken by the Bank or persons appointed by the Bank to address specific matters related to investigations/audits, such as evaluating the veracity of an allegation of possible Fraud and Corruption, through the appropriate mechanisms. Such activity includes but is not limited to: accessing and examining a firm's or individual's financial records and information, and making copies thereof as relevant; accessing and examining any other documents, data and information (whether in hard copy or electronic format) deemed relevant for the investigation/audit, and making copies thereof as relevant; interviewing staff and other relevant individuals; performing physical inspections and site visits; and obtaining third party verification of information. [↑](#footnote-ref-3)